## Slide 1: CROSS-NET: IN-LINE HOLOGRAPHIC IMAGE RECONSTRUCTION AND REFOCUSING
12/01/2024
Internship Student: Haitao Zhou
Supervisors: Mazen Mel & Alexander Gatto
Final Presentation

## Slide 2: Outline
Introduction
Holographic Data Simulation
Methodology
Experiment Results
Ablation Studies
Conclusions
Future Work
Appendix

## Slide 3: Introduction

## Slide 4: In-Line Holographic Imaging
Sensor
Unscattered wave
Object
Illumination wave
Scattered wave
Coherent light source
The aim is to capture a complex field distribution (i.e., light intensity and direction).
Image sensors / films are only sensitive to light intensity.
Illumination
Reference field
Latent/Object field
Constant
Twin image
Ignored
Latent field

## Slide 5: Possible Reconstruction Approaches
Popular methods for
holographic reconstruction
Deep learning: Convolutional neural networks (CNNs) , recurrent neural networks (RNNs) , generative adversarial models (GANs)
My topic focuses on deep learning methods
Iterative optimization:
Sample plane
Detector plane
Hologram
Propagation
Enforce detector domain constraints
Match amplitude with measured intensity.
Back-propagation
Enforce object domain constraints
Positive absorption constraint.
Filtering mask
Denoising prior
Sparsity

## Slide 6: Goal
Phase
Amplitude
DNN
Hologram

## Slide 7: Holographic Data Simulation

## Slide 8: Dataset Generation
Flowchart used to generate data set
Grayscale and normalization
Form amplitude and phase
Simulate hologram
Generate image
(Stable Diffusion)

## Slide 9: Synthetic Data Generation
A diffusion model finetuned on microscopic images is used to generate large number of training samples.
Fig. 3: Synthetic image samples generated by a stable diffusion model.
https://huggingface.co/Fictiverse/Stable_Diffusion_Microscopic_model
1
1

## Slide 10: Complex Field Generation
Convert the RGB image into grayscale to get and normalization it to 0-1:.
Generate complex object transmission:
,
Where is a multiplier controlling transparency.

## Slide 11: Holographic Image Formation Model
Interaction
Propagation
Detection
Hologram
(Planar wave)
Propagation kernel
Near-field Fresnel Propagation
Intensity image
Noise
Read + Shot noise sources
overall noise std.
Shot noise variance.
Read noise variance.

## Slide 12: Dataset Statistics
The network takes as input a hologram captured at an unknown object-detector distance z and is then tasked to reconstruct both phase and amplitude distributions of the latent complex transmission field and to estimate the distance z at which the hologram was recorded.
Image size | 128×128 | Distance z | 300, 400, 500, 600 700 m
Pixel size | 4.48um | Train set size | 5000×5 pairs
Wavelength | 430nm | Test set size | 1000×5 pairs
Image size | 128×128 | Distance z | 
Pixel size | 4.48um | Train set size | 5000×5 pairs
Wavelength | 430nm | Test set size | 1000×5 pairs
Generated samples
Parameters for data set simulation.
Ground truth
Ground truth
Holograms

## Slide 13: Methodology

## Slide 14: Propose Approach “Cross-Net”
Detailed architecture of reconstruction branch in Cross-Net
:
groups=input channels=output channels
large kernel size, e.g., 17 for an image size of 128×128 pixels
:
groups = kernel size = 1
:
similar as except the output channels of the
second Conv may be different.
:
simple Maxpool2d
Notes: We opted for such architecture to address the shortcomings of the standard transformer model

## Slide 15: Propose Approach “Cross-Net”
(a): The basic concept compare of Vision Transformer (ViT)
and Cross-Net. (b): The convolution block used to achieve ,
and units shown in (a).
(a)
(b)
[1,128,128]
[768,8,8]
Patch embedding
(conv2d with stride = kernel size)
Information loss, consistent global features are cut, fine features are compressed
Decompose patch embedding, access to medium latent vectors.
Quadratic runtime with respect to image size, not suitable for medium vectors.
Over-fit and high resource consumption caused by big module size.
Use special convolution blocks as inter-spatial processing units.
Feature vector
Input
Notes: Spend less time as possible

## Slide 16: Overall Architecture
The two branches have similar architecture.
Decoder of regression branch: average pool and linear mapping.
Decoder of reconstruction branch: linear mapping and reshape .
Hologram of the
same object with
different z
Reconstruction branch
Regression branch
Same transmission reconstruction
Different distance estimate
Input
Cross-Net
Output
Schematic of Cross-Net’s two-branch architecture

## Slide 17: Information of ViT and Cross-Net used for later experiment.
 | ViT | Cross-Net
Reconstruction branch size | 43.2 m | 10.5 m
Regression branch size | 19.1 m | 7.5 m
Reconstruction latent vector shape | [B, 64, 768] | [B, 768, 8, 8]
Regression latent shape | [B, 256, 512] | [B, 512, 16, 16]

## Slide 18: Benchmarks
Model name | Description
HRNet | HRNet uses a deep residual network as encoder and simple periodic shuffling as a decoder.
Dense-U-Net | Dense-U-net is an upgraded version of U-net, it adds specially designed dense blocks to the traditional U-net.
Fourier Imager Network(FIN) | The FIN architecture is based on spatial Fourier transform modules that process the spatial frequencies of its inputs using learnable filters and a global receptive field.
Ehanced Fourier Imager Network(eFIN) | Compared to FIN, eFIN uses a shallow U-net to extract filters of spatial frequencies and features needed for refocusing.

## Slide 19: Experimental Results

## Slide 20: Experiment results: Loss curves
The ticks on the x-axis mean the number of epochs. (a): L1 loss of reconstruction on the train set. (b): L1 loss of reconstruction on the test set. (c): L1 loss of distance z regression (d): Zoom in of the region with green shadow in (c). The plot (d) uses a linear scale instead of a logarithmic scale.
The training of eFIN is very unstable
 | Train loss | Test loss
FIN | 0.0409 | 0.0432
eFIN | 0.0512 | 0.0528
Cross-Net | 0.0366 | 0.0383
The train loss and test loss of FIN, eFIN and Cross-Net at epoch 300
ViT converges all regressions to 500um which is the median of 300um - 700um.

## Slide 21: Experiment results: Metrics on test set
Metrics to show average reconstruction and regression quality on test set.
HRNet | 0.370 | - | 17.4 | - | -
Den-U | 0.527 | 0.501 | 20.2 | 17.6 | -
FIN | 0.887 | 0.867 | 26.7 | 23.7 | -
eFIN | 0.849 | 0.828 | 25.0 | 22.1 | 1.35
ViT | 0.779 | 0.753 | 23.4 | 20.6 | 120
Cross-Net | 0.911 | 0.896 | 27.8 | 24.7 | 0.0485
HRNet | 0.370 | - | 17.4 | - | -
Den-U | 0.527 | 0.501 | 20.2 | 17.6 | -
FIN | 0.887 | 0.867 | 26.7 | 23.7 | -
eFIN | 0.849 | 0.828 | 25.0 | 22.1 | 1.35
ViT | 0.779 | 0.753 | 23.4 | 20.6 | 120
Cross-Net | 0.911 | 0.896 | 27.8 | 24.7 | 0.0485
Better quality
R is the maximum fluctuation in the input image data type
Notes: Rewrite the tables
make cross net values bold

## Slide 22: Experiment results: Sample
HRNet
Target Amplitude
Hologram
Reconstruction
Amplitude
Introduce from the worst model
to the best model.

## Slide 23: Experiment results: Sample
HRNet Zoom in
Hologram
Reconstruction
Amplitude
Target Amplitude

## Slide 24: Experiment results: Sample
Dense-U-net
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 25: Experiment results: Sample
Dense-U-net Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 26: Experiment results: Sample
ViT
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 27: Experiment results: Sample
ViT Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 28: Experiment results: Sample
eFIN
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 29: Experiment results: Sample
eFIN Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 30: Experiment results: Sample
FIN
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 31: Experiment results: Sample
FIN Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 32: Experiment results: Sample
Cross-Net
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 33: Experiment results: Sample
CrossNet Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 34: Experiment results: External generalization
The network is trained on synthetic images generated by a stable diffusion model and tested outer QPI data with different overall statistics.
Images with same training set statistics
Images with completely different statistics

## Slide 35: Experiment result: External generalization
Metrics valid set
Metrics test set
HRNet | 0.370 | - | 17.4 | - | -
Den-U | 0.527 | 0.501 | 20.2 | 17.6 | -
FIN | 0.887 | 0.867 | 26.7 | 23.7 | -
eFIN | 0.849 | 0.828 | 25.0 | 22.1 | 1.35
ViT | 0.779 | 0.753 | 23.4 | 20.6 | 120
Cross-Net | 0.911 | 0.896 | 27.8 | 24.7 | 0.0485
HRNet | 0.370 | - | 17.4 | - | -
Den-U | 0.527 | 0.501 | 20.2 | 17.6 | -
FIN | 0.887 | 0.867 | 26.7 | 23.7 | -
eFIN | 0.849 | 0.828 | 25.0 | 22.1 | 1.35
ViT | 0.779 | 0.753 | 23.4 | 20.6 | 120
Cross-Net | 0.911 | 0.896 | 27.8 | 24.7 | 0.0485
FIN | 0.917 | 0.908 | 33.2 | 31.2 | -
eFIN | 0.752 | 0.742 | 26.9 | 25.0 | 41.1
Cross-Net | 0.935 | 0.927 | 34.2 | 32.2 | 0.821
FIN | 0.917 | 0.908 | 33.2 | 31.2 | -
eFIN | 0.752 | 0.742 | 26.9 | 25.0 | 41.1
Cross-Net | 0.935 | 0.927 | 34.2 | 32.2 | 0.821
Cross-Net has Very good external generalization

## Slide 36: Experiment result: External generalization sample
eFIN
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 37: Experiment result: External generalization sample
eFIN Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 38: Experiment result: External generalization sample
Cross-Net
Target Amplitude
Hologram
Reconstruction
Amplitude
Target Phase
Reconstruction
Phase

## Slide 39: Experiment result: External generalization sample
Cross-Net Zoom in
Hologram
Reconstruction
Amplitude
Reconstruction
Phase
Target Amplitude
Target Phase

## Slide 40: Experimental Results

## Slide 41: Experiment result: Ablation Studies
SPE (Single-step Patch Embedding): Use a single-step Patch Embedding with one stage of and and have similar size as Cross-Net.
SPE att s: Replace with attention, decrease the number of inter-spatial and inter-channel processing units to keep similar size as SPE.
SPE att c: Replace with attention, keep the same cycles of processing units.
Cross-Net BN: Replace weight normalization with batch normalization.
Fig. 15: The result of ablation studies.

## Slide 42: Conclusions
Achieved joint computational re-focusing and holographic image reconstruction.
Proposed novel Patch Embedding decomposition and redesigned the inter-spatial processing units of the standard ViT model.
Demonstrated competitive results with state-of-the-art approaches.

## Slide 43: Future work
Add spatial super-resolution capability as it can be achieved by changing the output channels of the linear mapping layer in the decoder.
Target performance on real holographic data captured by Sony’s DIHM prototype.

## Slide 44: Appendix

## Slide 45: Appendix: Other trials
Try to improve Fourier Imager Network(FIN).
Make the spatial frequency filters as a kind of half fixed format, and only optimize several hyperparameters. It fails.
Try to improve U-Net.
Put something on the skip connection, like spatial frequency filters or spatial processing. Use U-Net as the basic units of RNN. It fails.
Try to improve RNN.
Use U-Net as the basic units of RNN. It fails.
Try to output directly phase at sensor plane.
Output directly sensor-plane phase can half the capacity requirement for the model. But the errors will spread after back propagation causing low
SSIM and PSNR. It fails.

## Slide 46: State-of-the-art Competing Approaches
Fig. 9: Schematic of the deep learning workflow and the structure of HRNet
HRNet uses a deep residual network as encoder and simple periodic shuffling as a decoder.
Zhenbo Ren, Zhimin Xu, and Edmund Y Lam, “End-to-end deep learning framework for digital holographic reconstruction,” Advanced Photonics, vol. 1, no. 1, pp.016004–016004, 2019.
Notes: One slide big table

## Slide 47: State-of-the-art Competing Approaches
Fig. 10: Schematic of the deep learning workflow and the structure of Dense-U-net
Dense-U-net is an upgraded version of U-net, it adds specially designed dense blocks to the traditional U-net.
Yufeng Wu, Jiachen Wu, Shangzhong Jin, Liangcai Cao, and Guofan Jin, “Dense-u-net: dense encoder decoder network for holographic imaging of 3d particle fields,”
Optics Communications, vol. 493, pp. 126970, 2021.

## Slide 48: State-of-the-art Competing Approaches
Fig. 11: Schematic of the deep learning workflow and the structure of FIN
The FIN architecture is based on spatial Fourier transform modules that process the spatial frequencies of its inputs using learnable filters and a global receptive field.
Hanlong Chen, Luzhe Huang, Tairan Liu, and Aydogan Ozcan, “Fourier imager network (fin): A deep neural network for hologram reconstruction with superior external generalization,
” Light: Science & Applications,vol. 11, no. 1, pp. 254, 2022.

## Slide 49: State-of-the-art Competing Approaches
Fig. 12: Schematic of the deep learning workflow and the structure of eFIN.
Compared to FIN, eFIN uses a shallow U-net to extract filters of spatial frequencies and features needed for refocusing.
Hanlong Chen, Luzhe Huang, Tairan Liu, and Aydogan Ozcan, “efin: Enhanced fourier imager network for generalizable autofocusing and pixel super-resolution in holographic imaging,”
IEEE Journal of Selected Topics in Quantum Electronics, vol. 29, no. 4: Biophotonics, pp. 1–10, 2023.

## Slide 50: Method: Propose Cross-Net
 | ViT | Cross-Net
Reconstruction branch size | 43.2 m | 10.5 m
Regression branch size | 19.1 m | 7.5 m
Reconstruction latent vector shape | [B, 64, 768] | [B, 768, 8, 8]
Regression latent shape | [B, 256, 512] | [B, 512, 16, 16]
Information of ViT and Cross-Net used for later experiment.
Ross Wightman, “Pytorch image mod- els,” https://github.com/rwightman/ pytorch-image-models, 2019.
Kaiming He, Xinlei Chen, Saining Xie, Yanghao Li, Pi- otr Doll ́ar, and Ross Girshick, “Masked autoencoders are scalable vision learners,” in Proceedings of the IEEE/CVF conference on computer vision and pattern recognition, 2022, pp. 16000–16009.

## Slide 51
Target amplitude
Target phase
Reconstruction
amplitude
Reconstruction
phase
Holograms